| 1. Air |
| --- |
| 1.1 | Are there currently any air emissions permits? Which sources are covered by the permits? What are the conditions of the permits? |  |  |
| 1.2 | What point sources (discharge stacks) of air emissions are there in the facility? What is being emitted ? Criteria Pollutants? Toxic Pollutants? Hazardous Air Pollutants? VOCs? How much? Chemical composition? |  |  |
| 1.3 | What fugitive sources (fuel or solvent dispensing stations, paint booths, etc.) of air emissions are there in the facility? What is being emitted ? How much? Chemical composition? |  |  |
| 1.4 | Does the facility operate fossil-fuel fired power plants or boilers that emit significant amounts of sulphur dioxide and/or nitrogen oxides? |  |  |
| 1.5 | Is the facility located in a nonattainment area for any critical pollutants? |  |  |
| 1.6 | Does the facility manufacture, import, export, or sell Ozone Depleting Substances (ODS)? Is there any equipment that uses ODS (for example, some types of refrigerants, solvents, fire extinguishing systems)? Does the company maintain, for itself or others, any equipment that uses ODS? |  |  |
| 1.7 | Does the facility own and/or operate motor vehicles or other mobile sources of air emissions? Are vehicle's emissions tested periodically as required by local law? |  |  |
| 1.8 | Are there are any new air emission sources being built or planned? Are existing sources being significantly modified? |  |  |
| 2. Surface Water |
| 2.1 | Is there a permit for effluent discharge? What are the conditions of the permit? |  |  |
| 2.2 | Are there discharges into water body or wetland? What is being discharged? Flow rate? Chemical composition? |  |  |
| 2.3 | Are there discharges into a municipal system? What is being discharged? How much? Is there a potential for corrosion of the sewer system? Is there a potential for upsetting the biological treatment system? |  |  |
| 2.4 | Is effluent being treated in any way before discharge? What is the volume and flow rate of the treated effluent? What is the sludge or other residue left after the treatment? What is being done with the sludge? |  |  |
| 2.5 | Is there a stormwater permit? What are the stormwater and runoff discharge points? Are there any potential pollutant sources that could contaminate stormwater? What industrial activities occur in drainage areas? What materials are exposed to stormwater? |  |  |
| Sections 3. through 11 are not included in the Demo file |

This survey does not cover laws and regulation pertaining to special facilities, such as treatment, storage, or disposal facilities; chemical plants; mines; large heavy industrial establishments; federal facilities; agricultural establishments; facilities located in costal zones, wetlands, endangered species habitats, etc.; and other facilities which, because of their character, location, or size, may be subject to special regulatory requirements. The checklist is intended for service and light manufacturing facilities located in developed areas with compatible land uses.